**Part Number: 900130**

**Description: 0. 5inch PVC Flanged Tank Connector (male) PN16**

##### Note : The above is a complete Item

Item is 51mm long, excluding gaskets

Flange is 95mm in diameter

#### Parts List:

4no. M12 x 45 bolts S/S

4no. M12 37mm Plain Washers S/S

4no. M12 27mm Plain Washers S/S

4no. M12 Plain Nut S/S

2no. 0.5inch PN16 Gasket

1no. 0.5inch PVC Full Face Flange

1no. 0.5inch Plain/Threaded Barrel Nipple

